## Summary
SUMMARY SHEET FOR CONSTRUCTION OF CGS CUM MOTHER STATION
Sl. No. | DESCRIPTION | AMOUNT
A | DESIGN AND ENGINEERING | 0
B | CIVIL | 0
C | MECHANICAL | 0
D | ELECTRICAL | 0
E | INSTRUMENTATION | 0
F | SS.TUBING | 0
TOTAL AMOUNT (without any GST) |  | 0

## SOR
| SCHEDULE OF RATES CONSTRUCTION OF CGS CUM MOTHER STATION EXCLUDING BOUNDARY WALL AT CHURU, TEH.- CHURU- BIKANER (RAJ.) | Document No:-REPL/GESINET/SOR-001 Date: 27.08.2024
Project-CHURU,BIKANER GA
Rev-0
BOQ /ITEM NO | Item Description | Unit | Quantity | Rate | Amount
A | DESIGN AND ENGINEERING
1 | Design and drawings of Engeering for the control Building at the sattion | LS | 1 |  | 0
2 | Design and drawings of Engeering for the Canopy at the sattion | LS | 1 |  | 0
3 | Design and drawings of Engeering for the High mast at the sattion | LS | 1 |  | 0
4 | Design and drawings of Engeering for the Monolith at the sattion | LS | 1 |  | 0
| TOTAL AMOUNT FOR CIVIL (A) |  |  |  | 0
B | CIVIL
1 | SITE GRADING & PLOT DEVELOPMENT INCLUDING CUTTING DOWN OF TREES, BUSHES ETC.
1.1 | Clearing jungle including uprooting of rank vegetation, grass, brush wood, trees and saplings of girth up to 30 cm measured at a height of 1 m above ground level and removal of rubbish up to a distance of 50 m outside the periphery of the area cleared. | Squrare meter (M2) | 4495 |  | 0
1.2 | Clearing grass and removal of the rubbish up to a distance of 50 m outside the periphery of the area cleared. | Squrare meter (M2) | 4495 |  | 0
1.3 | Felling trees of the girth (measured at a height of 1 m above ground level), including cutting of trunks and branches, removing the roots and stacking of serviceable material and disposal of unserviceable material
1.3.1 | Beyond 30 cm girth upto and including 60 cm girth | each | 1 |  | 0
1.3.2 | Beyond 60 cm girth upto and including 120 cm girth | each | 1 |  | 0
2 | Earthwork excavation in soil
2.1 | Earth work in Excavation below ground level for all kinds of works in ALL TYPES OF SOIL as classified in specification for a depth upto 1.5m including removal of vegetation, shrubs and debris, cutting and dressing of sides in slopes, levelling, grading and ramming of bottoms, dewatering of accumulated water from any source and keeping the surface dry for subsequent works and disposal or stacking of excavated material within a lead of 100m, as directed including providing temporary supports to existing service lines like water pipes, sewage pipes, electric overhead and underground cables etc. all complete. | Cubic meter (M3) | 1149.6 |  | 0
2.2 | For depth beyond 1.5m and upto & inclusive of 3.0m. | Cubic meter (M3) | 50 |  | 0
2.3 | Earth work in Excavation below ground level for Ordinary Rock, Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, getting out the excavated soil . | Cubic meter (M3) | 50 |  | 0
3 | Backfilling after execution of work |  |  |  | 0
3.1 | BACKFILLING after execution of the WORK to proper grade and level with selected materials from available excavated soil from spoil heaps within a LEAD OF 100M,including re- excavating the deposited soil excavated earlier, breaking clods, laying at all depths and heights in layers of thickness not exceeding 15 Cms. watering, rolling and ramming by manual methods/ mechanical compactors to achieve 90% laboratory maximum dry density, dressing, trimming etc. in foundations, plinths, trenches, pits etc. all complete. | cum | 8990 |  | 0
3.2 | BACKFILLING after execution of the WORK to proper grade and level with selected materials from available excavated soil from spoil heaps beyond a LEAD OF 100M AND UPTO & INCLUSIVE OF 500M including re- excavating the deposited soil excavated earlier, breaking clods, laying at all depths and heights in layers of thickness not exceeding 15 Cms. watering, rolling and ramming by manual methods/mechanical compactors to achieve 90% laboratory maximum dry density, dressing, trimming etc. in foundations, plinths, trenches, pits etc. all complete. | cum | 10 |  | 0
4 | Transporting & Disposing the SURPLUS EARTH AND DEBRIS
4.1 | Transporting and disposing the SURPLUS EARTH AND DEBRIS including shrubs and vegetation from construction areas to areas ANYWHERE OUTSIDE THE PLANT BOUNDARY, including re-excavating the deposited soil excavated earlier, loading, transportation, unloading, laying at all depths and heights, stacking,levelling and dressing both the area (viz. from where the earth is transported and where it is deposited) to required levels and slopes complete with all lifts as directed. For carting on the basis of truck measurements (volume of truck reduced by 30% for voids). DISPOSAL AREAS OUTSIDE PLANT BOUNDARY TO BE ARRANGED BY THE CONTRACTOR. Royalty as applicable for disposal outside plant limits to be borne by the Contractor | cum | 229.92 |  | 0
5 | EARTH WORK FILLING BY EXCAVATION
5.1 | EARTHWORK IN FILLING by excavating the earth from BORROW AREAS arranged by CONTRACTOR for all leads, transporting the earth from borrow area including cleaning & stripping the earth at borrow areas, breaking clods, loading, unloading and laying at all depths and heights in layers of thickness not exceeding 15 cms., watering, rolling and ramming by manual methods/mechanical compactors to achieve 90% of the maximum laboratory dry density, ressing, trimming, levelling the top surface etc. in foundations, plinths, trenches etc. all complete. ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR | cum | 50 |  | 0
6 | PLAIN & REINFORCED CEMENT CONCRETE
6.1 | PLAIN CEMENT CONCRETE - PCC
6.1.1 | Providing and laying PLAIN CEMENT CONCRETE for all depths below and upto plinth level in foundations, drains,fillings, non-suspended floors, pavements & ramps or any other works etc. including shuttering, tamping, ramming, vibrating, curing, etc. all as specified in any shape, position, thickness and finishing the top surface rough or smooth as specified and directed all complete for concrete grade M20 with 20mm and down size graded crushed stone aggregates/Gravels. ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR | cum | 49.44 |  | 0
7 | RCC (SUBSTRUCTURE) |  |  |  |  | 165.481
7.1 | Providing and laying REINFORCED CEMENT CONCRETE OF M-25 GRADE with 20 mm and down size graded crushed stone aggregates/ gravel in SUBSTRUCTURE INCLUDING CENTERING & SHUTTERING ) e.g. foundations, raft, beams, pile caps, Retaining walls, counterforts, buttresses, pedestals, pipe sleepers, columns, suspended floors, staircases, landings, steps, brackets etc., including equipment/ machine foundations & pedestals viz. MRS, generators, etc. (including single pour concreting as specified on the drawing), applying cement wash on concrete surface (wherever no other surface application is specified) ,providing bitumen coating of surface of founation and raft ,providing pockets, openings, recesses, chamfering, etc., wherever required, vibrating, tamping, curing and rendering if required to give a smooth and even surface etc. (EXCLUDING THE COST OF REINFORCEMENT)for all depths below and upto plinth level in any shape, position and thickness etc. all complete as specified, shown and directed. ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | cum | 296.64 |  | 0
7.2 | RCC (SUPER STRUCTURE) - EXCLUDING CONTROL ROOM BUILDING | 4110
7.2.1 | Providing and laying REINFORCED CEMENT CONCRETE OF M-25 GRADE with 20 mm and down size graded crushed stone aggregates/ gravel in SUPER STRUCTURE INCLUDING CENTERING & SHUTTERING in suspended floors, slabs, beams, columns, walls including counterforts, staircases, landings, steps, facias, fins, mouldings, gutters, shelves, posts, struts, equipment/ machine foundations, ramps etc. (including single pour concreting as specified on the drawing), providing cement wash (wherever no other surface application is specified), providing pockets, openings, recesses, chamfering wherever required, vibrating, tamping, curing and rendering if required to give a smooth and even surface etc. (EXCLUDING THE COST OF REINFORCEMENT) FOR ALL HEIGHTS UPTO & INCLUSIVE OF 20 m ABOVE PLINTH LEVEL in any shape, position, thickness etc. all complete as specified, shown and directed. ALL MATERIALS INCLUDING CEMENT SUPPLIED BY THE CONTRACTOR. | CUM | 5 |  | 0
8 | CONTROL ROOM BUILDING (SUPERSTRUCTURE)
8.1 | Design and Engineering of control room building including all amenaties and requirements to develop Architetural, Sturctural and electrical drawings, specification and documents, getting the same approved with Client/PMC and Construction of Control Room Building as per drawings and specification. Building work for all Superstructure works INCLUDING CENTERING & SHUTTERING , Reinforcement , masonry work, partition wall, Plastering & pointing, flooring, Floor finishes, Door & windows, rolling shutter, false ceiling, all finishes, painting, roof treatment complete in all respect etc.). Building work for all Superstructure works including INCLUDING CENTERING & SHUTTERING , Reinforcement , masonry work, partition wall, Plastering & pointing, flooring, Floor finishes, Door & windows, rolling shutter, false ceiling, all finishes, painting, roof treatment complete in all respect etc.) | Squrare meter (M2) | 60 |  | 0
8.2 | CANOPY (STRUCTURAL STEEL)
8.2.1 | Design and Engineering ofcanopy including all amenaties and requirements to develop Architetural, Sturctural and electrical drawings, specification and documents, getting the same approved with Client/PMC and Construction of canopy as per drawings and specification. Building work for all Superstructure works INCLUDING CENTERING & SHUTTERING , Reinforcement , masonry work, complete in all respect etc.).". Supply, fabrication, erection and handling over of steel fabricated canopy including epoxy painting, grouting,GI FLASHING: Providing and fixing 20 gauge GI flashing with steel bars head self drilling screws with integral washers and EPDM seal @ 600-1000mm approx,COLUMN CLADDING: Providing and fixing 3mm ACM cladding on top of steel structure through cold forming process as per the drawing and details with the provisions of spreaders on both side. Cut vinyl to be fixed as per the details. CANOPY FALSE CEILING: Providing and fixing Canopy Ceiling- Precoated Aluminium false ceiling with bevel edges, including all necessary fittings like galvanized still strip carriers,Splices, edge profile etc. complete.CANOPY ROOFING: Providing and fixing Canopy roofing 0.5mm Trapezoidal profile high tensile precoated G.I steel sheets (fy-550 mps) having profile depth of 28-32 mm and pitch of 186-250mm with zinccalume coating 150 gem and 35 microns super polyester colourbond XRW quality paint system, compatible flashing, fittings E, and fixtures and erecting them on roof/sides using self drilling, self tapping fasteners at proper positions, water test, all work as per specifications or Engineer-in-charge. , complete in all respects as per scope of work drawing and specifications. Rate to include cost of all labour, tools,tackles,equipments,hire charges. supply of all materials such as structural steel,purlins,nuts,bolts,washers,screws,seals,roof sheeting,false ceiling,rain water pipes and bends, illumination fittings, electrodes, paint and all consumables etc. with all bye works and sundry works, RCC for foundation works shall be paid separately. Electrical Fixtures/ wiring to be paid under separate items. | Squrare meter (M2) | 210 |  | 0
8.3 | HOARDING
8.3.1 | Design and Engineering of control hoarding including all amenaties and requirements to develop Architetura & Sturctural , specification and documents, getting the same approved with Client/PMC and Construction of hoarding as per drawings and specification. Hoarding work for all Superstructure works INCLUDING CENTERING & SHUTTERING , Reinforcement , masonry work, partition wall, Plastering complete in all respect etc.).". Printed Flex Sheet (make LG or 3M) with approved Art work (suitable for front lit ) to be fitted to the steel sheet of existing Hoarding structure in Aluminium frame. | Sqm. | 72 |  | 0
8.4 | MONOLITH TOWER
8.4.1 | Design and Engineering of control room building including all amenaties and requirements to develop Architetural & Sturctural drawings, specification and documents, getting the same approved with Client/PMC and Construction of monolith as per drawings and specification. tower work for all Superstructure works INCLUDING CENTERING & SHUTTERING , Reinforcement , complete in all respect etc. 4mm Thick ACM (Aluminium Composite Material) panel router cut cladding on M.S framework (hollow steel sections as per design requirement) with company Logo. 2m x 5m (from top of pedestal), located midway between Ingress and Egress. | Nos. | 1 |  | 0
8.5 | High mast (Light Pole)
8.5.1 | Design and Engineering of control room building including all amenaties and requirements to develop Architetural & Sturctural drawings, specification and documents, getting the same approved with Client/PMC and Construction of monolith as per drawings and specification. tower work for all Superstructure works INCLUDING CENTERING & SHUTTERING , Reinforcement ,complete in all respect etc. Up to 20 mtr height | Nos. | 1 |  | 0
8.5 | SPEED BREAKER
8.5..1 | Supply and installation of high grade rubber and PVC made Speed Breakers at ingress and egress. Make, Size and Type shall be as per directions of Engineer-In-Charge. | Nos. | 2 |  | 0
9 | WINDSOCK (nclude supply of windsock along with installation of its mounting) | Number (NO) | 1 |  | 0
10 | HYSD Bars / MS Bars
10.1 | Supplying and placing in position HIGH YIELD STRENGTH DEFORMED STEEL BARS REINFORCEMENT of Grade Fe500D TMT conforming to IS:1786, for RCC work (excluding control room building & Guard room & boundary wall superstructure ) including transporting the Steel, straightening, cleaning, decoiling, cutting, bending to required shapes and lengths as per details, binding with 18 SWG black soft annealed binding wire at every intersection, supplying and placing with proper cover blocks, supports, chairs, overlaps, welding, spacers, fanhooks etc. for all heights and depths etc. all complete as directed. SUPPLY OF ALL MATERIAL IN CONTRACTOR'S SCOPE | Tonnes (MT) | 25 |  | 0
11 | RAIN WATER DRAIN |  |  |  | 0
11.1 | Providing and laying rain drain water ,Providing and laying PLAIN CEMENT CONCRETE for all depths below and upto plinth level in foundations,drains, fillings, non-suspended floors, pavements & ramps or any other works etc. including shuttering, tamping, ramming, vibrating, curing, shuttering etc. all as specified in any shape, position, thickness and finishing the top surface rough or smooth as specified and directed all complete for concrete grade M20 with 20mm and down size graded crushed stone aggregates/Gravels. | RUNNING METER (RM) | 190 |  | 0
12 | STRUCTURAL STEEL WORKS (REFER SPECIFICATION )
12.1 | Supplying and applying COATING (Post-erection/ Field) of approved quality and shade as per Specification or Job Specifications, wherever applicable) over the coat of shop primer already applied, including storage, surface preparation, degreasing, cleaning, drying, providing necessary arrangement for access, testing etc. including touching up of shop for steel structures (excluding ladders, spiral stairways & hand rails) at all location & levels, all complete as specified, for UNIT (INLAND) areas considering environment classification as INDUSTRIAL. SUPPLY OF ALL MATERIAL IN CONTRACTOR'S SCOPE. (Unit rate based on Structural steel weight). | Tonnes (MT) | 1 |  | 0
12.2 | MISCELLANEOUS STEEL WORKS (REFER SPECIFICATIONS ) |  |  |  | 0
12.2.1 | MS Chequered Plates |  |  |  | 0
12.2.1.1 | Supplying, fabricating and erecting in position at all levels and locations bolted, screwed and/or welded M.S. CHEQUERED PLATES of any thickness in walkways, platforms, stairtreads or any other place as directed, etc. cutting to required size, shape, making holes, notches, openings of required size, nosing, straightening if required, making the edges smooth, removing the burrs, fixing, welding, preparation and submission of fabrication drawings and preparing the surfaces for painting and applying shop primer as per Specification after fabrication and return of unused/ scrap/ unserviceable chequered plates to Owner's store and material reconciliation etc. all complete as specified and directed | Tonnes (MT) | 1 |  | 0
12.2.2 | Anchor Bolts
12.2.2.1 | Supplying, fabricating, fixing and keeping in position at all levels and locations THREADED ANCHOR BOLTS of all diameters and nomenclature including nuts, washers, anchor plates, pipe sleeves etc. in foundations, columns, pedestals, slabs, beams, walls etc. or any other place as directed including handling & transporting, straightening if required, turning from relevant size M.S. rounds to required diameter, threading, welding, providing necessary templates and auxiliary dummy structures, if any, necessary tying and welding with reinforcement, adjustment of shuttering & reinforcement/any other fixture, greasing exposed metal surfaces, covering bolts and packing the sleeves with jute cloth etc. all complete as specified and directed.(SUPPLY OF ALL MATERIALS IN CONTRACTOR'S SCOPE). | Tonnes (MT) | 0.5 |  | 0
12.2.3 | MS Metal Inserts
12.2.3.1 | Supplying, transporting, storing, fabricating and fixing in position M.S. METAL INSERT (with lugs) of any shape made out of flats, plates, rolled sections, pipes etc. providing necessary templates, staging, cutting, straightening, if required, bolting, welding as required and embedding in position on both Plain and Reinforced Cement concrete members inclusive of adjusting shuttering & reinforcement/ any other fixture, welding where necessary, tying and holding to correct level, line and position, any auxiliary dummy structures to support the heavy inserts, painting exposed surfaces with a coat of primer as per Specification all complete for all depths and heights as specified and directed. (SUPPLY OF ALL MATERIALS IN CONTRACTOR'S SCOPE). | Tonnes (MT) | 0.5 |  | 0
12.2.4 | MS Grating
12.2.4.1 | Supplying, fabricating and fixing in position at all locations 1000mm high INCLINED HAND RAILING (for staircases) consisting of top rail, mid rail and vertical posts (Maximum spacing 1500mm c/c) with 32mm nominal diameter medium grade M.S. Tubes conforming to IS:1239 including straightening if required, cutting, bending, welding, bolting, grouting with ordinary grout, cleaning, surface preparation, hot-dip galvanising (80-85 micron as per IS:4759, IS:2629, IS: 4736, IS:2633), shop primer (1 coat of P6 of 40 micron) as per TE SPEC. preparation and submission of fabrication drawings etc. all complete as specified, shown and directed. (SUPPLY OF ALL MATERIALS IN CONTRACTOR'S SCOPE). (Complete handrail work shall be measured as length of top rail only and not length of each element fixed). | RUNNING METER (RM) | 50 |  | 0
12.2.4.2 | Supplying, fabricating and fixing in position at all locations 1000mm high HORIZONTAL HAND RAILING (for platforms, walkways, etc. or any other location as directed) consisting of top rail, mid rail and vertical posts (Maximum spacing 1500mm c/c) with 32mm nominal diameter medium grade MS Tubes conforming to IS:1239 and 100x5 MS Toe Plate confirming to IS:2062 (Grade A/B), including straightening if required, cutting, bending, welding, bolting, grouting with ordinary grout, cleaning, surface preparation, hot-dip galvanising (80-85 micron as per IS:4759, IS:2629, IS: 4736, IS:2633), shop primer (1 coat of P6 of 40 micron) as per standard drawing & specification, preparation and submission of fabrication drawings etc. all complete as specified, shown and directed. (SUPPLY OF ALL MATERIALS IN CONTRACTOR'S SCOPE). (Complete handrail work shall be measured as length of top rail only and not length of each element fixed). | RUNNING METER (RM) | 10 |  | 0
12.2.5 | CHAIN LINK FENCING
12.2.5.1 | Supplying, fabricating and fixing G.I. chain link fencing with 3.5mm dia. wire, 50x50mm diamond mesh chain link fence fabric conforming to IS:2721 fixed to steel/RCC posts/struts above ground level, including supply of chain link fencing fabric in 1.9 metre wide rolls, stretcher bars, staples, etc. required for fixing the fencing, fixing of chain link fencing between straining posts, fixing of bottom of fencing in cement concrete 1:2:4 blocks and painting with synthetic enamel etc. , including supply and fixing line wires, complete as per drawings, specifications and directions of Engineer -in-Charge (All materials shall be supplied by Contractor). (The measurement of chain link fencing shall be on linear basis for 1.9 m wide fencing fabric) | RUNNING METER (RM) | 170 |  | 0
13 | PAVER BLOCK
13.1 | Supplying & Laying interlocking Paver Blocks for roads, footpaths and any other place etc. including providing 60 mm & 80mm thick sand filling below Paver Blocks including compaction of sand layer, filling the joints by dry sand, providing precast kerb stone of PCC M-20 at edges, including preparation of compacted sub-grade etc. all complete as per drawing, standard and directions of Engineer-in-Charge. (All material including cement supplied by contractor, paver blocks shall confirm to IS: 15658. color and shape of paver block shall be as per owner requirements for following thickness of paver blocks
13.1.1 | PAVER BLOCK( Thickness - 60 mm ) | Squrare meter (M2) | 40 |  | 0
13.1.2 | PAVER BLOCK( Thickness - 80 mm ) | Squrare meter (M2) | 825 |  | 0
14 | CONCRETE PAVEMENTS
14.1 | Providing and laying Reinforced Cement Concrete with 20mm and down size graded crushed stone aggregates in flooring, pavements etc. including leaving pockets, if necessary, making recess/drains, laying in alternate panels, etc. for all depths including shuttering, tamping, curing, etc. as specified in any shape, thickness, position and finishing the top surface smooth etc. all complete as per drawings, specifications and directions of Engineer-in-Charge. For RCC of M-25 grade concrete (all materials including cement but excluding cost of providing & fixing reinforcement and joint sealing shall be supplied by the contractor). | Squrare meter (M2) | 621.35 |  | 0
14.2 | Providing 20mm wide Expansion Joints in pavement slabs as per general technical specification including cleaning the joints of all loose material, filling with 20mm thick impregnated fibre boards for the full depth of slab except for 25mm depth from top and sealing the top 25mm with approved Joint Sealing Compound as per IS:1834 Type-B etc. all complete as per drawings, specifications and directions of Engineer-in-Charge |  |  |  | 0
14.3 | Sealing joint around pedestal and column etc. 20mm wide x 150 mm deep including filling with 20mm thick impregnated fire board for the full depth of slab except for 25mm depth from top and sealing the top 25mm with approved joint sealing compound as per IS:1834 Type-B. |  |  |  | 0
15 | MISC. CIVIL AND STRUCTURAL WORKS FOR U/G PIPING AND OTHER CIVIL WORKS |  |  |  | 0
15.1 | Providing and laying brick masonry with locally available bricks of specified class 5 (Brick of class lower than specified shall not be accepted) in cement mortar 1:4 (1 cement : 4 Coarse sand) in one or more brick thickness and in any shape in foundation and plinth for valve pits, drains, circular/square manholes, wing walls, etc. including providing recesses, openings, etc. including curing, finishing the joints flush below ground level and raking out joints in plinth with all labour and material, etc. complete as per drawings, specifications and direction of Engineering-Charge. For following Brick Class.
15.2 | All materials including cement supplied by the Contractor | CUM | 50 |  | 0
16 | RCC PIPE CULVERTS
16.1 | Supplying and laying in position RCC pipes with collars conforming to IS:458 for pipe culverts, etc. including cutting the pipe if necessary, lowering, laying in position to proper levels, slopes etc. caulking the joints with spun yarn soaked in neat cement slurry and finishing with cement mortar 1:2 (1 cement : 2 sand) curing etc. all complete as per drawings, specifications and directions of Engineer-in-Charge. For following Class and Internal PIPE DIA (MM).
16.2 | ( Dia (internal) - 500 mm, Pipe Class - NP3 ) | Meter (M) | 65 |  | 0
16.3 | ( Dia (internal) - 75 mm, Pipe Class - NP3 ) | Meter (M) | 50 |  | 0
17 | U/G AND A/G G.I. PIPELINE SYSTEM - WATER SERVICES
17.1 | Supplying and laying mild steel galvanised pipes conforming to IS:1239 (heavy grade) and fittings conforming to IS:1239/ ASTM A105 (Galvanized) and as per piping materials specification Class including supply of teflon tapes, white lead, etc. cutting the pipes to required lengths, making threads, earthwork in excavation for trenches, valve pits, etc. in all types of soil excluding soft and hard rock including laying of pipes in trenches, joining the pipes and fittings with threaded connections, hydrostatic testing of the piping, backfilling the trenches with selected/approved earth fill material, cutting of roads wherever required, making good the road surface after laying, disposal of surplus earth within a lead of 500 m, etc. including supply of necessary fittings etc. complete as per specifications, drawings and directions of Engineer-in-Charge. For following Nom.Size in mm.
17,1,1 | ( Nom. Dia - 50 mm, Pipe class - J2A ) | Meter (M) | 120 |  | 0
18 | UNDERGROUND SEWER SYSTEM-HDPE PIPES
18.1 | UNDERGROUND SEWER SYSTEM-HDPE PIPES :- Supplying and laying HDPE pipes conforming to IS:4984 of approved make to proper grade and alignment, including earthwork in excavation for trenches etc. in all types of soil except soft and hard rock including dewatering till completion of subsequent works, shoring and strutting, if necessary, dressing the sides, leveling, grading and ramming the bottom, jointing the pipes using hot plates as per manufacturer's recommendation, lowering, providing and laying 1:5:10 (1 cement : 5 sand : 10 aggregate) plain cement concrete of minimum 100mm thickness on bottom and side of pipe as directed, connecting the pipes to manholes and grouting the pipes to manhole/valve chamber walls, including supplying and fixing the specials and fittings, such as bends, reducers, tees, elbows, caps etc. conforming to IS:8008 or fabricated from pipes as per specification, supplying and fixing of flanges, fixing of online valves, including fixing of bolts, nuts and gaskets etc. as per specifications, testing, draining of water and cleaning of pipes after testing, backfilling the trenches with select material from available excavated soil including re excavating the deposited soil excavated earlier breaking clods and laying in layers of 15cm compacted thickness, watering and compacting with mechanical means like vibro rammers etc. to 90% standard proctor density as per IS:2720 Part-VII, making good the surface, disposal of surplus earth/ unserviceable material to demarcated area anywhere within the complex limit, cutting of road wherever required, making good the same etc. complete for all depths as per drawings, specification and instruction of Engineer-in- Charge. For the following nominal diameter (mm) Pressure Rating(Kg/Cm2). |  |  |  | 0
18.1.1 | ( Dia (Internal) - 80 mm, Pressure Rating - 2.5 Kg/sqcm ) | RUNNING METER (RM) | 50 |  | 0
19 | Providing 13mm thick average cement plaster in cement mortar 1:3 (1 cement: 3 sand) on brick walls/stone masonry/pitching or on concrete surfaces for manholes, valves pits, culverts, wing walls, etc. including cleaning and preparation of the surface, scaffolding, curing etc. for all depths and heights complete as per drawings specifications and direction of Engineer-in-Charge.
19.1 | All materials including cement supplied by the Contractor. | Squrare meter (M2) | 250 |  | 0
19.2 | UNDERGROUND SEWER SYSTEM - RCC PIPES
19,2.1 | Supplying and laying underground R.C.C. pipes sewers with socket and spigot ends conforming to IS:458 of approved make, to proper grade and alignment, including earthwork in excavation in all types of soil except soft and hard rock for pipe trenches, etc. including dewatering, shoring and shuttering if necessary, dressing of sides, leveling, grading and ramming of bottoms, cutting the R.C.C. pipes to required lengths, lowering the pipes, jointing, including connecting the pipes to manholes and grouting the pipe body with manhole wall using cement mortar 1:2 (1 cement : 2 sand), testing, draining of water and cleaning of pipe after testing, backfilling the trenches with select material from available excavated soil including re excavating the deposited soil excavated earlier breaking clods and laying in layers of 15cm compacted thickness , watering and compacting with mechanical means like vibro rammers etc. to 90% standard proctor density as per IS:2720 Part-VII, making good the surface, including cutting of roads wherever required and making good the same, disposal of surplus earth/ unserviceable material to demarcated area anywhere within the complex limit etc. complete for all depths as per drawings, specifications and instructions of Engineer-in-Charge.(All material shall be supplied by contractor) For following Pipe size (mm) and Class(The following pipe sizes are all internal diameter of the pipes)
19.2.1.1 | ( Dia (Internal) - 100 mm, Piping Material Class - NP2 ) | RUNNING METER (RM) | 20 |  | 0
19.2.1.2 | ( Dia (Internal) - 150 mm, Piping Material Class - NP1 ) | RUNNING METER (RM) | 30 |  | 0
20 | MISCELLANEOUS ITEMS (REFER SPECIFICATION )
20.1 | Sand Filling
20.1.1 | Supplying and filling approved SAND of specified quality under floors, in foundations, plinths, tank foundations etc. for all depths and heights including cost of sand,royalties,transportation to site for all leads and lifts, including loading, unloading, spreading in layers of loose thickness not exceeding 150 mm,watering,ramming,compacting with mechanical compactors and/or other equipment to the specified levels to achieve 85% relative density as per IS:2720 Part XIV,including preparation of subgrade to the required slope, providing testing apparatus and testing the degree of consolidation all complete as per drawings, specifications and direction of Engineer-in-charge. The rates shall be inclusive of the cost of all labour,material,equipments etc. all complete . | CUM | 50 |  | 0
21 | PLUMBING AND BUILDING DRAINAGE
21.1 | Supplying and fixing approved quality PVC/UPVC below ground with necessary specials, bends such as Y-junction, T- junction (both single and double) including plugs, shoes, cowls, jointing with lead caulked joints and testing, cutting in floors, earth work in excavation, encasing the pipe in 50mm THK, PCC M20, backfilling and removal of surplus earth upto a lead of 50M etc. complete as per drawings, specifications and directions of Engineer-in-Complete
21.1.1 | 100mm dia (All materials including cement supplied by contractor) | RUNNING METER (RM) | 10 |  | 0
21.1.2 | 80mm dia (All materials including cement supplied by contractor) | RUNNING METER (RM) | 10 |  | 0
21.2 | Supplying and fixing gun metal globe valve conforming to IS:778, complete as per specifications and directions of Engineer-in-Charge.
21.2.1 | Dia - 50 mm | Number (NO) | 5 |  | 0
21.3 | Constructing of brick masonry valve chamber in 1:4 Cement mortar(1 cement: 4 sand) with CI frame & cover fixed on M-20 grade cement concrete , necessary excavation, M-20 grade foundation concrete, 13mm thick 1:3 cement plaster on inside & all exposed surfaces, backfilling, removal of surplus earth for all leads within the complex limit etc. complete as per standards, drawings, specifications and directions of Engineer-in-Charge. For following Valve size and Brick Class (All materials including Cement supplied by contractor )
21.3.1 | Dia - 50 mm, Brick Class - 5 ) | EACH | 5 |  | 0
21.4 | Providing and fixing approved stone ware 100mmx100mm dia. gully trap as per(Technical Specifications & general technical specification) including grating with CI frame and cover 300mmx300mm including brick masonry (brick class shall be as mentioned below) chamber in 1:4 cement mortar( 1 cement: 4 sand) on M-20 grade cement concrete foundation, plastered inside and outside surfaces with 1:3 cement mortar (1 cement: 3 sand) with 13mm average thickness including providing and fixing light duty CI frame and cover, painting CI frame and cover with two coats of chlorinated rubber zinc phosphate primer @ 40μ DFT per coat and finish painting consists of two coats of chlorinated rubber paint @40μ DFT per coat, earth work in excavation, backfilling, removal of surplus earth, benching with M-20 grade cement concrete and rendering smooth with a neat coat of cement slurry etc. all complete as per drawings, specifications and directions of Engineer-in-Charge
21.4.1 | All materials including cement supplied by contractor and ( Brick Class - 5 ) | Number (NO) | 5 |  | 0
21.5 | Construction as per Technical Specifications & general technical specification) of brick masonry (brick class shall be as mentioned below) inspection chambers/manholes of 750mmx750mm internal size 1000mm deep(Max.) in cement mortar 1:4 (1 cement: 4 sand) with CI frame and cover 500mm clear dia, (circular Medium duty of grade MD-10) conforming to IS:1726 fixed on RCC slab of M-30 grade, necessary excavation, supplying, fixing 4 Nos. 16mm dia M.S. rungs, M-20 grade foundation concrete 1:3 cement mortar(1 cement: 3 sand) plastering of 13mm average thickness for inside & 16mm avg. thickness for outside exposed surfaces, backfilling, disposal of surplus earth upto a lead of 100M, benching with M-20 grade cement concrete and rendering smooth with a neat coat of cement slurry, painting the C.I.frame and cover with two coats of chlorinated rubber zinc phosphate primer @ 40μ DFT per coat and finish painting consists of two coats of chlorinated rubber paint @40μ DFT per coat etc. all complete as per drawings, specifications and directions of Engineer-in-Charge.
21.5.1 | All materials including cement supplied by contractor and ( Brick Class - 5 ) | Number (NO) | 5 |  | 0
21.6 | Construction, supplying, installation, testing and commissioning of septic tank as per standards and IS:2470 Part-I , with all necessary accessories like inlet, outlet vent pipes, manhole covers, rungs etc. including earthwork in excavation in all type of soil except soft and hard rock, backfilling and disposal of surplus earth for all leads etc. complete as per standards, drawings, specifications and directions of Engineer-in-Charge
21.6.1 | All material including cement supplied by contractor for ( Users - 10 NOS ) | Number (NO) | 1 |  | 0
22.2 | SAND GRAVEL MIX
22.2.1 | Supplying and filling sand gravel mix (1:1) with approved aggregate below road, RCC pavement, manholes, pits, foundations, bedding of UG piping etc. in layers of 150 mm loose thickness (maximum) including watering, ramming, rolling, compacting to achieve 85% relative density as per IS 2720 Part-XIV, quarrying, royalties, transportation, handling, etc. all complete as per drawings, specifications and directions of Engineer-in- Charge. (The rate shall be inclusive of the cost of all labour, material, equipment etc. all complete) | cum | 621.35 |  | 0
22.3 | GROUTING WITH NON-SHRINKABLE COMPOUND
22.3.1 | Providing and laying manually or by pumping at all positions a ready mix non-shrink cementitious grout of compressive strength specified below for specified works e.g. pipe support, base grouting of rotating equipment and other installation complete in all respects as per scope of work, detailed construction drawings , technical specifications and directions of the Engineer-In-Charge.
22.3.2 | Having compressive strength of 30 -45 N/mm2 | Per bag of 25 Kg | 20 |  | 0
1) Approved makes are ACC, FOSROC, ROFF, SEIKA QUALCRETE.
2) Minimum coverage as per manufacturers recommendations shall be applied in absence of actual field consumption data.]
22.4 | BOREWELL
22.4.1 | Supply,laying,drilling and commissioning of G.I.Bore well of 150 mm diameter and up to 100 m depth including submersible pump with all accessories, panel, wiring and all other works required to make it operational all complete in all respects as per scope of work and directions of the Engineer-in-charge. | Each | 1 |  | 0
22.4.2 | Extra over and above for more than 100 M depth. | RUNNING METER (RM) | 20 |  | 0
23 | MISCELLANEOUS ITEMS
23.1 | Supplying and fixing in position entrance gate in complex boundary wall fencing manufactured out of steel frame work and square MS bars of 20 mm at 100 c/c and horizontal name plate band at lock rail level suitably hinged with box type steel post embedded in cement concrete i.e. providing the tension bar for smooth operation and locking arrangement etc. complete as per (Design Basis & general technical specification), including painting with two coats of anti-corrosive paint and two coats of approved aluminum/synthetic enamel paint etc. complete as per drawings, specifications and directions of Engineer-in-Charge.
23.1.1 | 6.0M clear opening width of gate in two panels. | Number (NO) | 1 |  | 0
23.1.2 | 4.0M clear opening width of gate in one panels. | Number (NO) | 5 |  | 0
23.1.3 | 1.20M clear opening width of gate in one panels. | Number (NO) | 1 |  | 0
23.2 | Supply and installation on terrace, high density polyethylene drinking water circular tank as per IS:12701 and ISI marked including supply and installation of all fittings, cover with suitable locking arrangement, float valve, making necessary holes for inlet, outlet and overflow connection and vent pipe etc. and the base supports for tank including supply of all necessary material all complete as per specifications and directions of Engineer-in-charge. (Sintex or equivalent having valid ISI license) for following capacities.
23.3 | capacity - 1000 litre | Number (NO) | 1 |  | 0
23.3.1 | Supplying, installation, testing and commissioning of Upflow Anaerobic Filter with bleaching tank as per Std. Drawing with all necessary accessories like, Upstream inlet CI piping from septic tank, Downstream outlet RCC NP2 class piping up to surface storm water drains, CI pipes for filter chamber, CI valve, RCC pre-cast pit covers, steps, perforated pre-cast slabs etc., inlet chamber, Filter chamber, deluding chamber including earthwork in excavation in all type of soil including soft rock, backfilling with murrum or approved soil arranged by the contractor, disposal of surplus earth etc. complete as per drawings, specification and direction of Engineering-Charge (All materials including cement shall be supplied by the contractor, Brick Class lower than 5.0 shall not be used). - Upto 10 Nos. user | Number (NO) | 1 |  | 0
24 | WBM ROAD CONSTRUCTION
24.1 | Preparation and consolidation of sub grade with power road roller of 8 to 12 tonne capacity after excavating earth to an average of 22.5 cm depth, dressing to camber and consolidating with road roller including making good the undulations etc. and re-rolling the sub grade and disposal of surplus earthwith lead upto 50 metres. | SQM | 1400 |  | 0
24.1.1 | Supplying and stacking at site.
24.1.2 | 90 mm to 45 mm size stone aggregate | CUM | 1400 |  | 0
24.1.3 | 63 mm to 45 mm size stone aggregate | CUM | 1400 |  | 0
24.1.4 | 53 mm to 22.4 mm size stone aggregate | CUM | 1400 |  | 0
24.1.5 | Moorum | CUM | 1400 |  | 0
25 | Rain water harvesting system |  |  |  | 0
25.1 | Providing,constructing and finishing of rain water harvesting pit including boring up to ground water table, provision of filter media and construction of pit complete as per scope of work, detailed construction drawings and directions of the Engineer-in-charge. (Dia - 3m) | Number (NO) | 1 |  | 0
| TOTAL AMOUNT FOR CIVIL (B) |  |  |  | 0
C | MECHANICAL
1 | Pipeline laying / installation of above ground pipeline
1.1 | Welding of pipes with Pipes/fittings/Valves : -
Suplly and taking over of matarial from designated place & handling including lifting, transportation from vendor/ contractors storage point to work site / workshop as applicable for fabrication or / and to work site for field fabrication and erection for all piping items supplied by CONTRACTOR.
Fabrication including cutting, edge preparation, inclusive of grinding the edges of pipes, fittings, etc. to match with grinding the edges of pipes, fittings etc. to match with the matching edges of uneven / different thickness wherever required fit - up bending, preheating wherever required, welding etc. pipe fittings like elbows, tees, reducers, weldolets, sockolets, etc. vent and drain point connection etc. including providing stub - in connection, fabricated fittings and reinforcement pads etc. as required. Carrying out Non-destructive testing as per specification & instruction of EIC.
1.1.1 | 8" NB (A106 Grade B Seamless B36.10) | Number (NO) | 15 |  | 0
1.1.2 | 4" NB(A106 Grade B Seamless B36.10) | Number (NO) | 19 |  | 0
1.1.3 | 2" NB (A106 Grade B Seamless B36.10) | Number (NO) | 24 |  | 0
1.1.4 | 1" NB (A106 Grade B Seamless B36.10) | Number (NO) | 10 |  | 0
Note: 1. Welding Joints under above SOR item are for Above Ground Piping only; 2. The above SOR item shall be carried out only when instructed by Engineer In charge; 3. These rates shall be applied only when permitted by Engineer In charge. 4. Assorted pipes of all rating/thickness types, pipe fittings,flanges,valve blinds etc,as required.
1.2 | Welding of pipes with Flanges
Receiving and taking over of matarials designated place of issue, handling including lifting, transportation from Vendor/ or contractors storage point to work site / workshop as applicable for fabrication or / and to work site for field fabrication and erection for all piping items supplied by COMPANY / CONTRACTOR.
Fabrication including cutting, edge preparation, inclusive of grinding the edges of pipes, flanges etcto match with the matching edges of uneven / different thickness, preheating wherever required, welding etc. including supply and fixing of all types of gaskets (including gaskets for RTJ flanges), bolts and nuts for all sizes. Carrying out Non-destructive testing as per specification & instruction of EIC.
1.2.1 | 8" NB | Number (NO) | 4 |  | 0
1.2.2 | 4" NB | Number (NO) | 2 |  | 0
1.2.3 | 2" NB | Number (NO) | 6 |  | 0
1.2.4 | 1" NB | Number (NO) | 2 |  | 0
Note: 1. Welding Joints under above SOR item are for Above Ground Piping only; 2. The above SOR item shall be carried out only when instructed by Engineer In charge; 3. These rates shall be applied only when permitted by Engineer In charge. 4. Assorted pipes of all rating/thickness types, pipe fittings,flanges,valve blinds etc,as required.
1.3 | Erection & Testing:
Complete work of erection, painting, testing and making ready for further commissioning / start - up carbon steel piping and fittings of all sizes and ratings including supply & installation of, all fittings like elbow, tees, reducers, swages, weldolet, sockolets, nipples, flanges, blind flanges, spectacle blind flanges, valves, pipes of sizes 2” NB & below and of all ratings including supply of all consumables, equipment, manpower and other resources and execution of but not limited to the following works in accordance with relevant specifications, drawings, scope of work and instruction of Owner/ Owner's Representative and as per all provisions of the contract document.
Erection of pipes of all types and thickness over sleepers, overhead on rack and at all elevations, connecting with equipment nozzle, aligning and installation for all types of valves, all online instruments and fittings of all sizes of elbow, reducers, tees, flanges blind flange, spectacle blind flanges, branch connection / tapping, vents and drains, required for process and hydro testing, tapping for pressure gauges thermowells sample connections, etc.
Painting of entire system (including all pipes and accessories) as per specification, including supply of approved paints and primers, preparation of surface and application of primer and paint, identification lettering/numbering, color coding, etc. as specified including rub down & touch up of shop primer or scrapping of shop primer wherever required by COMPANY and providing scaffolding for all heights etc. Cleaning and flushing by water /compressed air, testing of the system including hydrostatic, pneumatic and any other type of testing as specified, draining, drying by compressed air / other methods approved by COMPANY.
Cleaning and flushing by water/ compressed air, testing of the system including hydrostatic, pneumatic and any other type of testing as specified, draining, drying by compressed air/ other methods as approved by Owner.
Completion of all such work in all respect as per scope of work and as per drawings specifications and instructions of the COMPANY and keeping in the system ready in all respects for further commissioning and start up.
Hooking up with other system piping at battery limit. Preparation of isometric, fabrication drgs. Bill of materials as per specifications, drawings and instruction of Owner/Owner’s Representative
1.3.1 | 8" NB | Meter (M) | 15 |  | 0
1.3.2 | 4" NB | Meter (M) | 19 |  | 0
1.3.3 | 2" NB (Including supply of pipe, fittings, flanges, valves and other items required). | Meter (M) | 24 |  | 0
1.3.4 | 1" NB (Including supply of pipe, fittings, flanges, valves and other items required). | Meter (M) | 10 |  | 0
Note: 1. Bolts, nuts, washer, U-clamps, gaskets etc. required for piping facilities shall be procured and supplied by the contractor within the rate quoted. These items shall not be separately measured and paid. 2. All materials of size below 4" shall be in contractor's scope. 3. 4" and above (fittings & flanges etc ), material supply is also in the contractor scope. It shall be be paid seperately under relevant SOR item on actual basis. 4. Removal of 3LPE coating by cold method & surface finishing as per Sa 2 1/2 shall be considered under this item, bidder to quote accordingly, if required as per instruction from EIC.
1.4 | Supply & installation of SS pressure gauge & Temperture gauge( make - as per recommended vendor list ) as per data sheet attached in the tender supply of SS pressure gauges as per data sheet and enclosed drawing and installation of pressure guages and their accessories inclusive of supply of necessary piping materials and tubings alongwith all necessary valves and fittings, fabrication and installation of impulse lines / mainfolds and hydrulic testing and calibration as per installation standard.
1.4.1 | Providing & installation of SS pressure gauge ( make - as per recommended vendor list ) as per data sheet attached in the tender | Lot (LOT) | 1 |  | 0
1.5 | Supply of major items as per specification enclosed in tender
Supply of Long Radius bends (R = 1.5D), Rating 300 #
1.5.1 | 8" NB , Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 7.2 mm
1.5.1.1 | 90 Degree | Number (NO) | 1 |  | 0
1.5.2 | 4" NB, Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 6.4 mm
1.5.2.1 | 90 Degree | Number (NO) | 1 |  | 0
1.5.3 | Supply of Equal Tee , Rating 300 #
1.5.3.1 | 4" x 4" , Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 7.2 mm x 7.2 mm | Number (NO) | 0 |  | 0
1.5.4 | Supply of Reducing Tee, Rating 300 #
1.5.4.1 | 8" x 4" , Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 6.4 mm x 6.4 mm | Number (NO) | 1 |  | 0
1.5.4.2 | 8" x 2" , Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 6.4 mm x 6.4 mm | Number (NO) | 4 |  | 0
1.5.4.3 | 4" x 2" , Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 6.4 mm x 6.4 mm | Number (NO) | 5 |  | 0
1.5.5 | Reducer, Rating 300#
1.5.5.1 | 8'' X 4'', Material : API 5L X 52 / ASTM A 860 WPHY 52, min. thk. 6.4 mm x 6.4 mm | Number (NO) | 1 |  | 0
1.5.6 | Flanges (WNRF), Rating 300 #
1.5.6.1 | 8" (Material : ASTM A 694 F 52) | Number (NO) | 4 |  | 0
1.5.6.2 | 4" (Material : ASTM A 694 F 52) | Number (NO) | 0 |  | 0
1.5.7 | Blind Flanges (RF), Rating 300 #
1.5.7.1 | 4" (Material : ASTM A 694 F 52) | Number (NO) | 1 |  | 0
1.5.8 | Spectacle Blind (SB) ,300#
1.5.8.1 | 8" (Material : ASTM A 694 F 52) | Number (NO) | 2 |  | 0
1.5.8.2 | 4" (Material : ASTM A 694 F 52) | Number (NO) | 1 |  | 0
1.5.9 | Ball Valve
1.5.9.1 | 8" Ball Valve (End Connection : Flanged End) - Rating 300 # , Trunion Mounted, Design Code : API 6D for detailed specification refer Data sheet/Tender | Number (NO) | 1 |  | 0
1.5.9.2 | 4" Ball Valve (End Connection : Flanged End) - Rating 300 # , Trunion Mounted, Design Code : API 6D for detailed specification refer Data sheet/Tender | Number (NO) | 1 |  | 0
1.5.10 | Globe Valve
1.5.10.1 | 4'' Globe Valve (End Connection : Flanged End) - Rating 300 # , Trunion Mounted, Design Code : API 6D for detailed specification refer Data sheet/Tender | Number (NO) | 0 |  | 0
2 | RADIOGRAPHY:
Performance of radiographic inspection of piping of all types, sizes, thickness including providing or hiring of all necessary equipment, supply of all consumables including radiographic films and whatever else even though not expressly mentioned but required to perform the work as per specification and instructions of Engineer-in-Charge. Contractor to submit DPR, Inspection Report along with Radiography Report to Engineer-in-Charge. Note : a) All NDT including Radiography, MPT, LPT for 2" and below are covered under this SOR item. No separate payment shall be made. Radiography of piping joints as per details given below:
2.1 | Size - 8 Inch | Number (NO) | 23 |  | 0
2.2 | Size - 4 Inch | Number (NO) | 12 |  | 0
3 | PIPE SUPPORTS
Supply, fabrication and erection of pipe/ equipment supports (for all sizes/ thickness) including shoes, pipes etc. as required, cradles, turn buckles, T-posts for all types of guides, anchors, special supports for cold/hot insulated pipes etc. if applicable, all necessary equipment, consumables, labour etc. for completing all works including supply of bolts, nuts, washers, U-clamps, wooden blocks etc. as required for supporting, supply and application of paints and primers suitable for normal corrosive painting environment as defined in contract document and as per standard specification for painting specification no. VPC-SS-PI-0008, Drawings, Specification, Standards, other provisions of Contract and instruction of Engineer-in-Charge.
4 | MS Structural Steel | Tonnes (MT) | 1 |  | 0
4.1 | PIPING LEAKS / BURSTS (ATTRIBUTABLE TO OWNER)
4.2 | All works for leak/burst (occurring during hydrostatic testing) including necessary repair/replacement of defective pipe length, including cutting and removing out defective pipes, welding, NDT of welds, repair and re-testing of defective welds, painting of welded joints, clean-up, re hydro testing of the pipe segment including providing all necessary equipment's, labour, materials, consumables and inputs other than Owner supplied materials and performing all works as per drawings, specifications enclosed with the Contract and directions of Engineer-in- Charge. Note: a) This rate shall be applicable for manufacturing defects in Company supplied materials only. | INCH METER (INM) | 10 |  | 0
5 | SUPPLY OF RAIN CAP
Supply and Installation of Rain Cap including all necessary fabrication works, including providing all necessary equipment's, labour, materials, consumables and inputs other than Owner supplied materials and performing all works as per drawings, data sheet, specifications enclosed with the Contract and directions of Engineer-in-Charge.
5.1 | 4" Rain Cap for Vent. | Number (NO) | 1 |  | 0
6 | Nitrogen Supply
6.1 | Supply of Nitrogen with cylinder for localized purging, Hook up of pipeline and piping. | Cubic meter (M3) | 15 |  | 0
7 | Supply & Installation of Insulating joint as per tender spec
7.1 | 4" | Number (NO) | 1 |  | 0
7.2 | 8" | Number (NO) | 1 |  | 0
| TOTAL AMOUNT FOR MECHANICAL (C) |  |  |  | 0
D | ELECTRICAL
1 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING
1.1 | Maintenance FREE EARTHING & LIGHTNING SYSTEM :
1.1.1 | Supply, Installation, testing & commissioning of Maintenance free Earthing with Copper earth plate 600mm x 600 mm x 3mm thick including accessories and providing masonary enclosure with cover plate having locking arrangement and watering pipe etc, with charcoal / coke and salt as required as per IS 3043. Final resistance Value shall be submitted for clint/ consultantant review. | Number (NO) | 7 |  | 0
1.1.2 | Supply, Installation, testing & commissioning off Maintenance free Earthing with GI earth pipe, 3.0 mtr long, 100 mm dia including accessories and providing masonary enclosure with cover plate having locking arrangement etc, (with charcoal and salt ) as required as per IS 3043. | Number (NO) | 14 |  | 0
1.1.3 | Supply, Installation & Laying, testing & commissioning of 50mm X 6 mm G.I strip complete with all accessories. | Meter (M) | 350 |  | 0
1.1.4 | Supply, Installation & Laying, testing & commissioning of 25mm X 3 mm G.I strip complete with all accessories. | Meter (M) | 150 |  | 0
1.1.5 | Supply, Installation & Laying, testing & commissioning of 25mm X 3 mm Cu strip complete with all accessories. | Meter (M) | 80 |  | 0
1.1.6 | Supply, Installation & Laying, testing & commissioning of 10 sq. cu. Earthing wire complete with all accessories. | Meter (M) | 100 |  | 0
1.1.7 | Supply, Installation & Laying, testing & commissioning of 25 sq. cu. Earthing wire complete with all accessories. | Meter (M) | 50 |  | 0
1.1.8 | Supply, Installation & Laying, testing & commissioning of 50 sq. cu. Earthing wire, lugs, nuts, bolts complete with all accessories. | Meter (M) | 40 |  | 0
1.1.9 | 16 Ways Earthing Plate. | Number (NO) | 2 |  | 0
1.1.10 | Supplying and Laying of Vehicle Cu. Earthing wire 50 sq. mm , 30 meters, Clip, reel & stand with complete with all accessories | Lot (LOT) | 1 |  | 0
1.2 | OUTDOOR LIGHT FITTINGS :
1.2.1 | Supply, Installation, testing & commissioning of area light Fixtures FLP 110 W LED for Mounted on 4.5 m Hexagonal light pole mounted Industrial light fixture complete in all respectssuitable for Hazardous Zone-2 area. | Number (NO) | 4 |  | 0
1.2.2 | Supply, Installation, testing & commissioning of Pole mounted well glass type Fixture FLP 80 W LED street Industrial light fixture complete in all respects. suitable for out door, Hazardous Zone-2 area. | Number (NO) | 5 |  | 0
1.2.3 | Supply, Installation, testing & commissioning of 9mtr. Hight Hexagonal/ octagonal street pole with suitable size of junction box including wiring of 3 x 2.5 sqmm from junction box to fixture complete with all accessories. suitable for Hazardous Zone-2 area. | Number (NO) | 3 |  | 0
1.2.4 | Supply, Installation, testing & commissioning of 4.5 mtr. Hight pole with suitable size of junction box including wiring of 3 x 2.5 sqmm from junction box to fixture complete with all accessories. suitable for Hazardous Zone-2 area. | Number (NO) | 3 |  | 0
1.3 | Site misc. Materials
1.3.1 | Supply, Installation of Caution Board | Number (NO) | 2 |  | 0
1.3.2 | Supply, Installation of Shock treatment chart | Number (NO) | 2 |  | 0
1.3.3 | Supply, Installation & Laying of Rubber mates(2 or 2.5mm thick X 0.9 or 1Mtr w , 11 KV) as per IS15652/IEC61111 | Meter (M) | 20 |  | 0
1.3.4 | Supply of Pairs of Rubber hand gloves IS Mark | Number (NO) | 2 |  | 0
1.3.5 | Supply, Installation of Fiirst aid box with Snake serum | Number (NO) | 2 |  | 0
1.3.6 | Supply, Installation & Laying of Cable Tray 150mm Hot dip GI, Perforated | Meter (M) | 15 |  | 0
1.3.7 | Supply, Installation & Laying of Cable Tray 300mm Hot dip GI, Perforated | Meter (M) | 15 |  | 0
1.3.8 | Supply, Installation & Laying of Cable Tray 450mm Hot dip GI, Perforated | Meter (M) | 15 |  | 0
1.3.9 | Supply, Installation, testing & commissioning of Hand operated Siren | Number (NO) | 1 |  | 0
1.3.10 | Supply, Installation, testing & commissioning of 230 V, Electrical Siren | Number (NO) | 1 |  | 0
1.4 | CABLE & TERMINATIONS :
Supply, Installation & Laying, testing & commissioning with including cable glands, lugs and termination for aluminium and copper conductor XLPE insulated armoured served sheated FRLS cables 1100 V grade at a depth of 750 mm below ground level over a cushion of 75 mm. thick sand all around and protected with burnt bricks on sides and on top. On surface the cable run shall be fixed on M.S clamp etc. of suitable size or as directed by engineer incharge, complete in all respect, the armouring with fire retararted cable shall be properly connected with the earth conductor by clamps etc.
1.4.1 | 3.5x 300 mm2 A2XFY | Meter (M) | 250 |  | 0
1.4.2 | 3.5x 185 mm2 A2XFY | Meter (M) | 20 |  | 0
1.4.3 | 3.5x 95 mm2 A2XFY | Meter (M) | 20 |  | 0
1.4.4 | 4x16 mm2 2XWY | Meter (M) | 50 |  | 0
1.4.5 | 4x 4 mm2 2XWY | Meter (M) | 30 |  | 0
1.4.6 | 3CX6 Cu 2XWY | Meter (M) | 50 |  | 0
1.4.7 | 3CX2.5 Cu 2XWY | Meter (M) | 450 |  | 0
1.4.8 | 5x 2.5 mm2 2XWY | Meter (M) | 20 |  | 0
1.4.9 | 2P x 1.0 mm2 2XWY Screen | Meter (M) | 60 |  | 0
1.5 | DISTRIBUTION PANELS, DISTRIBUTION BOARD & Lighting Panel
Supply, Installation, testing & commissioning of Electrical / Control Panels suitable for 415 Volt,3phase,3wire 50Hz AC supply system fabricated in compartmentlized from CRCA sheet steel not less than 2mm thick duly treated with 7 tanks process, powder coated with approved shade and oven dried . The complete panel will have a short circuit with stand capacity of 35 KA for 1 Second, IP 65 rating. It will have a suitable MS base channel powder coated. The panel will be fabricated in transportable sections. The panel shall have a common copper earth bar of size 25mm x 5mm at the rear with 2 Nos. earth studs. The LT panel will have suitable arrangement for bus-ducting/ cable termination into various incoming/outgoing switchgear as required. Cable termination will be at suitable terminal block at top/bottom of the panel and from the terminal block to switch, connection will be made with solid insulated strip/PVC insulated copper conductor cable of required current rating as required as per SLD. Spares for these LT Panels are included, based on PTS
1.5.1 | 415V, 35 KA, Al main Bus, single front Floor mounted type indoor MEDB, Emergency Panel to receive input power at CGS consisting of bus bar chamber, cable alley, APFC bank, etc including all labour and materials with operating mechanism, all accessories, mandatory spares as per data sheet, auxiliaries etc complete in all respects as specified in technical specification, data sheet & SLD | Number (NO) | 1 |  | 0
1.6 | LIGHTING DISTRIBUTION BOARDS
Supply, Installation, connection, testing, and commissioning of 415V/240V lighting/power panels, Surface/Recess mounting type sheet steel enclosure of approved make having 4 Pole MCCB/MCB with current limiting 10 kA (LSIG)/RCCB/ELCB as incoming and SP/DP/TP MCB (10KA type) for out going circuit complete with wiring,indication lamp, ammeter etc including all labour and materials as per specification and the direction of Engineer-in-charge.
1.6.1 | Surface/Recess mounted Lighting Panel (Normal ILDB) for Building Lighting consisting of one no. 63 Amp (100mA sensitivity) 4 Pole MCCB with RCCB/ELCB as incomer, out going feeders as per SLD complete with indication lamp etc. | Number (NO) | 1 |  | 0
1.6.2 | Surface/Recess mounted Lighting Panel (Emergency ILDB) for Building Lighting consisting of one no. 32 Amp (100mA sensitivity) 4 Pole MCCB with RCCB/ELCB as incomer, out going feeders as per SLD complete with indication lamp etc | Number (NO) | 1 |  | 0
1.6.3 | Surface/Recess mounted, weather proof and flame proof Outdoor Lighting Panel (Normal OLDB) consisting of 63 Amp (100mA sensitivity) 4 Pole MCCB/MCB with RCCB/ELCB as incomer and out going feeders as per SLD complete with indication lamp, Contactor, timer, A/M switch, as per SLD | Number (NO) | 1 |  | 0
1.6.4 | Surface/Recess mounted, weather proof and flame proof Outdoor Lighting Panel (Emergency OLDB) consisting of 63 Amp (100mA sensitivity) 4 Pole MCCB/MCB with RCCB/ELCB as incomer and out going feeders as per SLD complete with indication lamp, Contactor, timer, A/M switch, as per SLD | Number (NO) | 1 |  | 0
1.7 | Supply of UPS & UPS Panel
1.7.1 | Supply, Installation, testing & commissioning of UPS ;- PARALLEL REDUNDANT UPS of 2 X 100% , 230V, 6kVA rating with battery charger each. Installation, testing & commissioning of Parallel redundant 6kVA UPS should be DSP(Digital Signal Processing), controlled true on line double conversion 3 phase input and 1 phase output UPS system with each UPS module having IGBT based rectifier, THD shall be less than 5% at 100% linear load. input power factor should be 0.90 across the load spectrum DSP (Digital signal processing) technology invertor. Supply of UPS DB as mentioned above & SLD Supply of Battery Bank:- Installation, testing and Commissioning of sealed maintenance free batteries for 6kVA load, battery charger of suitable capacity, battery MCCB, input panel, Battery racks,connectors and accessories, cable from UPS to batteries etc. 2 nos x 50% battery backup 1 hour . | Lot (LOT) | 1 |  | 0
1.8 | SUPPLY, INSTALLATION, TESTING & COMMISSIONING
Electrical Building Internal lighting Wiring
1.8.1 | Supply, Installation, testing & commissioning of Wiring for light point (upto10 meter) with 2.5 sq. mm FRLS PVC insulated copper conductor three core cable/wire in surface/ recesses steel conduit in roof & PVC conduit in wall, with modular switch (AHOSXXW061/101 or equivalent), modular plate, suitable GI box and earthing the point with 1.5 sq.mm.FR PVC insulated copper conductor single/ three core wire etc as required. | Points (P) | 15 |  | 0
1.8.2 | Supply, Installation, testing & commissioning of Wiring for FLP 300 mm dia Exhaust Fan point (upto10 meter) with 2.5 sq. mm FRLS PVC insulated copper conductor three core cable/wire in surface/ recesses steel conduit, with modular switch (AHOSXXW061/101 or equivalent), modular plate, suitable GI box and earthing the point with 1.5 sq.mm.FR PVC insulated copper conductor single/ three core cable/wire complete with FLP Junction box. etc as required. | Points (P) | 2 |  | 0
1.8.3 | Supply, Installation, testing & commissioning of suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 & 5/6 amps modular socket outlet and 15/16 amps modular switch (AHOSIG101 or equivalent), connection, painting etc. as required. | Number (NO) | 6 |  | 0
1.8.4 | Supply, Installation, testing & commissioning of wall / ceiling/recess mount Fixture 2x40 W or equivalent LED Indoor Industrial light fixture complete in all respects. | Number (NO) | 4 |  | 0
1.8.5 | Supply, Installation, testing & commissioning of wall / ceiling mount Fixture 1x40 W or equivalent LED Indoor Industrial light fixture complete in all respects. | Number (NO) | 4 |  | 0
1.8.6 | Supply, Installation, testing & commissioning of wall / ceiling mount FLP Fixture 2x40 W or equivalent LED Indoor Industrial light fixture complete in all respects. | Number (NO) | 3 |  | 0
1.8.7 | Supply, Installation, testing & commissioning of 25 amps, 230 volts, SPN, industrial type switch socket outlet, with 2 poles and earth metal enclosed plug top along with 16 amps.rotary switch in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | Number (NO) | 3 |  | 0
1.8.8 | Supply, Installation, testing & commissioning of 32 amps, 230 volts, SPN, industrial type switch socket outlet, with 2 poles and earth metal enclosed plug top along with 32 amps. "C" series, SP MCB in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. | Number (NO) | 3 |  | 0
1.8.9 | Supply, Installation, testing & commissioning of Ceiling Fan of 1200mm sweep complete erected in position with all accessories. | Number (NO) | 3 |  | 0
1.8.10 | Supply, installation, Testing and Commissioning of 2 Tr. Split AC , 5+ star rating, complete with piping and all accessories. | Number (NO) | 2 |  | 0
1.8.11 | Supply, Installation, testing & commissioning of 300 mm dia FLP Exhaust Fan with louvers complete in all respects. | Number (NO) | 3 |  | 0
1.8.12 | Supply, Installation of 25 mm PVC/MS Conduit | Meter (M) | 50 |  | 0
1.8.13 | Supply, Installation, testing & commissioning of lightning conductor finial made of 25 mm dia 1800 mm long GI tube having single prong at top with 85 mm dia 3 mm thick GI base plate including holes etc. complete as required. | Number (NO) | 4 |  | 0
1.8.14 | Supply, Installation, testing & commissioning of GI strip of 25 x 3 mm thick on parapet or surface of wall for lightning conductor complete with joints and other accessories as required.(for horizental run). | Meter (M) | 105 |  | 0
1.8.15 | Supply, Installation, testing & commissioning of GI Tape of 25 x 3 mm thick on parapet or surface of wall for lightning conductor complete with joints and other accessories as required.(for vertical run). | Meter (M) | 20 |  | 0
1.8.16 | Supply, Installation, testing & commissioning of Steel Structure Angle, Chanels, Sq. bar, round Bar. Scope including Cutting, fabrication, painting & installation at site works | Kilogram (KG) | 300 |  | 0
1.8.17 | Supply, Installation of Chequred plate 6 mm thick, Scope including Cutting, fabrication, painting & installation at site works | Kilogram (KG) | 500 |  | 0
1.8.18 | Supply, Installation of 100 mm Dia Double corugated HDPE Pipe. Scope including Cutting & installation at site works | Meter (M) | 25 |  | 0
1.8.19 | Supply, Installation 50 mm Dia Double corugated HDPE Pipe. Scope including Cutting & installation at site works | Meter (M) | 25 |  | 0
1.9 | DG Set in acoustic enclosure mounted on a common base frame, complete with PLC based AMF panel, 1 number fuel tank of 990 Ltrs along with piping interconnecting fuel tank & engine with isolation valves, batteries, battery charger & leads, AVM Pads, Residential Silencer, Motor driven separate lube oil priming pump, First fill of lube oil, Acoustic enclosure, complete for exhaust system including cladding & support structure, as per the specification, spares (2 years maintenance spares as mentioned in annexure-II and any other spares not covered in annexure-II but required as per the manufacturer recommendations) as per the specifications, all interconnecting power & controls cable along with the termination material (lugs & glands) etc., complete in all respect as per the specification.
1.9.1 | 65 KVA DG and LT set with PLC based AMF panel etc | Number (NO) | 1 |  | 0
| TOTAL AMOUNT FOR ELECTRICAL (D) |  |  |  | 0
E | INSTRUMENTATION
2 | Supply, Calibration and Installation of instrumentation items listed below: (For details, refer instrumentation specifications)
2.1 | Pressure indicators of range 0 to 100 kg/cm2 as per the technical specifications attached in tender | Number (NO) | 1 |  | 0
2.2 | Gas Detection System (GDS) - SIL 2 Design, detailed engineering, supply, configuration, testing, installation, erection and commissioning of gas detection system. Supply and Laying of cable inside the cable trench, cable tray for hardwired signals and power cables from gas sensors to gas detectors control unit including glanding, termination, ferruling, dressing etc. at both ends. Supply of cable trays, installation and erection of cable trays and, supply of erection materials, cable ferrules, cable lugs, cable tie etc. Folllowing items are included in the Gas Detection System:-
2.2.1 | Gas Detection System including control unit, power supply modules, communication modules & required accessories etc,. | Number (NO) | 1 |  | 0
2.2.2 | IR Based explosion proof & weather proof (Point Gas Detector) -SIL2 Hydrocarbon detectors along with all mounting & other accessories as per tender specifications. | Number (NO) | 3 |  | 0
2.2.3 | IR Based explosion proof & weather proof (Open Path type)-SIL2 Hydrocarbon detectors along with all mounting & other accessories as per tender specifications. | Number (NO) | 2 |  | 0
2.2.4 | Explosion Proof / Weather Proof Hooters (for hazardous area) along with all mounting & other accessories as per the tender specifications. | Number (NO) | 1 |  | 0
2.2.5 | Explosion Proof & Weather Proof Beacons (for hazardous area) along with all mounting & other accessories as per the tender specifications. | Number (NO) | 1 |  | 0
2.2.6 | Weather proof junction boxes including supply of double compression cable glands, plugs for unused cable entries including WP certificates as per the tender specifications for various detectors in buildings. | Number (NO) | 1 |  | 0
2.2.7 | Cable, cabling, cable tray , gland ferrulling, supply, termination, pole, screw erction installation etc. for complete Gas Detection System as per requirement. | Lumpsum (LS) | 1 |  | 0
2.2.8 | Portable Gas Detector with controller, audio-visual alarm and suitable (intrisically safe) for hazardous area classified as classification Class I, Div. I Group C&D as per API-RP-500 as per tender specification | Number (NO) | 1 |  | 0
2.3 | Fire Alarm Control Panel (FACP) - Control Building Design, detailed engineering, supply, configuration, testing, installation, erection and commissioning of FACP. FACP shall be installed in suitable cabinet inside control building. Supply, Laying of cable inside building between detectors, MCP, hooter and FAC including glanding, termination, ferruling, dressing etc. at both ends. Supply & installation of cable trays (if necessary), supply of erection materials, cable ferrules, cable lugs, cable tie etc. for successful commissioning of FACP. Following items are included in the Fire Alarm Control Panel (FACP):-
2.3.1 | Controller along with cabinet | Number (NO) | 1 |  | 0
2.3.2 | Multisensor Detectors with relay output along with all mounting andother accessories for installation as per the tender specifications. | Number (NO) | 14 |  | 0
2.3.3 | Manual Call Point (Weather Proof) along with all mounting & other accessories as per the tender specifications. | Number (NO) | 4 |  | 0
2.3.4 | Explosion Proof / Weather Proof Hooters (for hazardous area) along with all mounting & other accessories as per the tender specifications. | Number (NO) | 1 |  | 0
2.3.5 | Exist sign along with all mounting & other accessories as per the tender specifications. | Number (NO) | 4 |  | 0
2.3.6 | Cable, cabling, cable tray , gland ferrulling supply, termination for complete Fire Detection System. | Lot (LOT) | 1 |  | 0
2.4 | CCTV System Design, detailed engineering, supply, configuration, testing, installation, erection and commissioning of CCTV system. Folllowing items are included in the CCTV System:
2.4.1 | 1/3" Day-Night Colour True IP Network Fixed Camera , focal length 4 to 8 mm or better, with IP 66 weatherproof housing, in-built lightning & surge protection, suitable mount, camera mounted interfacing junction box as applicable complete with cables, connectors, required interfaces etc. as per tender specifications including necessary erection hardware, poles, brackets etc. with flexible / rigid conduit and all other accessories as required. | Number (NO) | 4 |  | 0
2.4.2 | Network Digital Video Recorder (NVR) of 16 channel video & audio, 2 SATA interface with 2Tb or better storage facility along with racks and accessories | Number (NO) | 1 |  | 0
2.4.3 | Client Workstation along with licensed Operating System Software, Keyboard with Joystick along with required cables, connectors, interfaces complete as per specifications. | Number (NO) | 1 |  | 0
2.4.4 | CAT 6 cable and cabling from field cameras to CCTV control system. | Meter (M) | 225 |  | 0
2.5 | Controlled and instrument cables Supply, Installation & Laying, testing & commissioning with including cable glands, lugs and termination for copper conductor XLPE insulated armoured served sheated FRLS cables 1100 V grade at a depth of 750 mm below ground level over a cushion of 75 mm. thick sand all around and protected with burnt bricks on sides and on top. On surface the cable run shall be fixed on M.S clamp etc. of suitable size or as directed by engineer incharge, complete in all respect, the armouring with fire retararted cable shall be properly connected with the earth conductor by clamps etc.
2.5.1 | 2P x 1.5 mm2 2XWY Screen | Meter (M) | 60 |  | 0
2.5.2 | RS485 cable | Meter (M) | 150 |  | 0
| TOTAL AMOUNT FOR INSTRUMENTATION (E) |  |  |  | 0
F | SS TUBING
SECTION-A : SS TUBE LAYING & TESTING
1 | Laying, testing and commissioning of SS tubes ,SS fittings and SS valves as per Technical Specification, Typical P & ID,Drawings, scope of work including handling, lifting, transportation from stores to CNG stations and as per the instruction of Engineer In charge.
1.1 | 3/4"OD X 0.095" min Wall thk. SS Tube | RUNNING METER (RM) | 300 |  | 0
1.2 | 1/2"OD X 0.083” min Wall thk. SS Tube | RUNNING METER (RM) | 40 |  | 0
2 | Supply of SS Tubes as per Technical Specification
2.1 | SS TUBES
2.1.1 | 3/4"OD X 0.095" min Wall thk.,Material SS Tube 316 | Meter (M) | 300 |  | 0
2.1.2 | 1/2"OD X 0.083" min Wall thk.,Material SS Tube 316 | Meter (M) | 40 |  | 0
2.2 | Plug
2.2.1 | Size : 1/2" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 5 |  | 0
2.2.2 | Size : 3/4" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 15 |  | 0
2.3 | Caps
2.3.1 | Size : 1/2" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 5 |  | 0
2.3.2 | Size : 3/4" OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 10 |  | 0
2.4 | Union
2.4.1 | Size : 1/2" OD, Material : SS315 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 8 |  | 0
2.4.2 | Size : 3/4” OD, Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 50 |  | 0
2.5 | Reducing Union
2.5.1 | Tube OD 3/4" x Tube OD 1/2" Material : SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) with front & back ferrule | Number (NO) | 6 |  | 0
2.6 | Equal Tee
2.6.1 | Size:3/4" OD x 3/4" OD x 3/4" OD, Material:SS316 (Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 12 |  | 0
2.7 | Reducing Union Tee
2.7.1 | 3/4" OD x 1/2" OD x 3/4" OD, Material : SS316(Rated pressure : 5000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 6 |  | 0
2.8 | SS Ball Valves
2.8.1 | 2-Way Trunnion Full Bore Ball Valve 3/4"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 24 |  | 0
2.8.2 | 2-Way Trunnion Bore Ball Valve 1/2"(Rated pressure : 6000 PSI @ 70°F Temperature : 0°F to 400°F) | Number (NO) | 6 |  | 0
2.9 | Supply, laying, testing and commissioning of SS 304 Tubes including isolation valves, reducers & fittings etc.as per Technical Specification, Typical schematic drg. for Ins. air line of CNG station and scope of work including handling, storage,lifting, transportation upto CNG stations.
2.9.1 | 1/4”OD X 0.035” min Wall thk. SS Tube | RUNNING METER (RM) | 100 |  | 0
3 | SECTION-B : ERECTION OF MECH. EQUIPMENT
3.1 | Handling (including lifting and transportation from Client's store within city to CNG stations) and erecting in position, the following equipment on the foundation at Ground level. Contractor's scope shall include supply of all material and accessories including but not limited to any fixtures, clamps, gasket, nut bolts, etc. :
3.1.1 | Cascade 3000 L water capacity, Erection at Ground level | Number (NO) | 1 |  | 0
3.1.2 | Installation of DRS 1000 SCMH if required | Number (NO) | 1 |  | 0
3.1.3 | Installation of Compressor 1200SCMH if required | Number (NO) | 3 |  | 0
3.1.4 | Supply and erection of LCV trailing panel (LCV cost) for CGS for unloading of gas in LCV as per flow Diagram consisting of following; i) Two way valve 3/4" OD (1 No.) ii) 3/4" OD equal Tee (1 No.) iii) Pressure Gauge (0-400) bar 2.5" Dia 1/4" NPTM connectors (1 No.) iv) Block & Bleed Valve (1 No.) v) Mass flow meter with display vi) Three Way valve 1/4" (F) NP5 X 1/2" OD X 1/2" OD (1 No.) vii) 3/4" M X 3/4" OD Connector (2 No.) viii) Break away coupling (1 No.) ix) 3/4" OD X 1/4" NPT (M) Connector (1 No.) x) 3/8" ID thermoplastic coupling with 3/8" OD tube end connection 3 M long (1 No.) xi) 1/2" quick release coupling with nipple (1 No.) xii) Complete in all respect as per directions of E.I.C. (1 No.) | Number (NO) | 3 |  | 0
3.2 | Fire Fighting Equipment
3.2.1 | Supply and placement of DCP - 9 kg | Number (NO) | 9 |  | 0
3.2.2 | Supply and placement of DCP - 75 kg | Number (NO) | 1 |  | 0
3.2.3 | Supply and placement of DCP - 5 kg | Number (NO) | 5 |  | 0
3.2.4 | Supply and placement of Co2 Fire extinguisher - 4.5 kg | Number (NO) | 5 |  | 0
3.2.5 | Supply and placement of Co2 Fire extinguisher - 6.8 kg | Number (NO) | 5 |  | 0
3.2.6 | Supply and installation of Sand bucket (Set of 4 buckets) | Number (NO) | 5 |  | 0
3.2.7 | Wind socks | Number (NO) | 1 |  | 0
| TOTAL AMOUNT FOR SS.TUBING (F) |  |  |  | 0
GRAND TOTAL = (A+B+C+D+E+F) |  | A+B+C+D+E+F |  |  | 0
GST @ 18% |  |  |  |  | 0
0